## Std A
Data | set: | /Volumes/cctm/apavao/NMR/20230306_13CGlc_standards/13/pdata/2/
Fit | type: | Mixed | Lorentzian | and | Gaussian
Fit | Frequency |  | Width |  | Intensity | Area | %Lor.
| ppm | Hz | ppm | Hz |  |  | chisq | ppm | area | Ref ppm | Ref cpd | Group | Protons | Signal | Signal/proton | Signal/proton/mM
| 1 | 1300000000000000
| 4.614 | 2768.93 | 0.00521 | 3.129 | 0.132 | 0.735 | 100 | 4.614 | 0.735 | 4.63 | Glucose | –CH(O)(OH) | 1
STD: | 0 | 0.04 | 0.00021 | 0.129 | 0.003 |  |  | 0
| 4.6 | 2760.31 | 0.00681 | 4.084 | 0.117 | 0.856 | 100 | 4.6 | 0.856 | 4.63 | Glucose | –CH(O)(OH) | 1
STD: | 0 | 0.05 | 0.00027 | 0.16 | 0.003 |  |  | 0 |  |  |  | –CH(O)(OH) |  | 1.591 | 1.591 | 0.1591
| 2 | 18000000000000000 | [5 empty] | 2
| 3.872 | 2323.33 | 0.00972 | 5.834 | 0.243 | 2.525 | 100 | 3.872 | 2.525 | 3.89 | Glucose | –CH2OH | 3
STD: | 0 | 0.07 | 0.00034 | 0.202 | 0.005 |  |  | 0
| 3.851 | 2310.75 | 0.00914 | 5.486 | 0.239 | 2.342 | 100 | 3.851 | 2.342 | 3.89 | Glucose | –CH2OH | 3
STD: | 0 | 0.06 | 0.00034 | 0.203 | 0.006 |  |  | 0
| 3.816 | 2290.03 | 0.00943 | 5.657 | 0.127 | 1.282 | 100 | 3.816 | 1.282 | 3.82 | Glucose | –CH2OH | 3
STD: | 0 | 0.13 | 0.0008 | 0.481 | 0.006 |  |  | 0
| 3.796 | 2278.18 | 0.02175 | 13.052 | 0.24 | 5.596 | 100 | 3.796 | 5.596 | 3.82 | Glucose | –CH2OH | 3
STD: | 0 | 0.13 | 0.00077 | 0.464 | 0.004 |  |  | 0 |  |  |  | –CH2OH |  | 11.745 | 3.915 | 0.3915
| 3.765 | 2259.35 | 0.00885 | 5.311 | 0.119 | 1.13 | 100 | 3.765 | 1.13 | 3.77 | Alanine | –CHNH2– | 1
STD: | 0 | 0.13 | 0.00078 | 0.465 | 0.006 |  |  | 0
| 3.752 | 2251.53 | 0.00502 | 3.014 | 0.334 | 1.798 | 100 | 3.752 | 1.798 | 3.77 | Alanine | –CHNH2– | 1
STD: | 0 | 0.03 | 0.0002 | 0.118 | 0.008 |  |  | 0
| 3.739 | 2243.87 | 0.00543 | 3.259 | 0.439 | 2.551 | 100 | 3.739 | 2.551 | 3.77 | Alanine | –CHNH2– | 1
STD: | 0 | 0.03 | 0.00019 | 0.112 | 0.008 |  |  | 0 |  |  |  | –CHNH2– |  | 5.479 | 5.479 | 0.5479
| 3.728 | 2237.1 | 0.01022 | 6.132 | 0.196 | 2.143 | 100 | 3.728 | 2.143 | 3.73 | Glucose | –CH2OH | 1
STD: | 0 | 0.14 | 0.00099 | 0.591 | 0.007 |  |  | 0
| 3.719 | 2231.77 | 0.00644 | 3.863 | 0.113 | 0.778 | 100 | 3.719 | 0.778 | 3.73 | Glucose | –CH2OH | 1
STD: | 0 | 0.17 | 0.00136 | 0.814 | 0.011 |  |  | 0
| 3.71 | 2226.52 | 0.00825 | 4.952 | 0.088 | 0.774 | 100 | 3.71 | 0.774 | 3.73 | Glucose | –CH2OH | 1
STD: | 0 | 0.27 | 0.00225 | 1.35 | 0.009 |  |  | 0
| 3.701 | 2221.06 | 0.00827 | 4.965 | 0.182 | 1.615 | 100 | 3.701 | 1.615 | 3.7 | Glucose | –CHOH– | 1
STD: | 0 | 0.13 | 0.00106 | 0.635 | 0.01 |  |  | 0
| 3.692 | 2215.47 | 0.00727 | 4.364 | 0.189 | 1.472 | 100 | 3.692 | 1.472 | 3.7 | Glucose | –CHOH– | 1
STD: | 0 | 0.1 | 0.00076 | 0.456 | 0.009 |  |  | 0 | [5 empty] | 6.782 | 6.782 | 0.6782
| 3.68 | 2208.27 | 0.01001 | 6.004 | 0.252 | 2.701 | 100 | 3.68 | 2.701 | 3.7 | Glucose | –CHOH– | 1
STD: | 0 | 0.11 | 0.0008 | 0.481 | 0.008 |  |  | 0
| 3.671 | 2202.67 | 0.00786 | 4.717 | 0.172 | 1.444 | 100 | 3.671 | 1.444 | 3.7 | Glucose | –CHOH– | 1
STD: | 0 | 0.13 | 0.00108 | 0.647 | 0.012 |  |  | 0
| 3.66 | 2196.21 | 0.01161 | 6.965 | 0.09 | 1.118 | 100 | 3.66 | 1.118 | 3.7 | Glucose | –CHOH– | 1
STD: | 0.001 | 0.31 | 0.00235 | 1.407 | 0.006 |  |  | 0.001
| 3.649 | 2190 | 0.00343 | 2.061 | 0.041 | 0.153 | 100 | 3.649 | 0.153 | 3.7 | Glucose | –CHOH– | 1
STD: | 0 | 0.23 | 0.00197 | 1.183 | 0.011 |  |  | 0
| 3.644 | 2186.55 | 0.00153 | 0.92 | 0.079 | 0.13 | 100 | 3.644 | 0.13 | 3.7 | Glucose | –CHOH– | 1
STD: | 0 | 0.08 | 0.00175 | 1.053 | 0.084 |  |  | 0 |  |  |  | –CHOH– |  | 5.546 | 5.546 | 0.5546
| 3.637 | 2182.51 | 0.00496 | 2.977 | 0.205 | 1.091 | 100 | 3.637 | 1.091 | 3.65 | Ethanol | –CH2OH | 2
STD: | 0 | 0.06 | 0.00033 | 0.195 | 0.008 |  |  | 0
| 3.625 | 2175.01 | 0.00433 | 2.599 | 0.519 | 2.409 | 100 | 3.625 | 2.409 | 3.65 | Ethanol | –CH2OH | 2
STD: | 0 | 0.02 | 0.00011 | 0.066 | 0.008 |  |  | 0
| 3.612 | 2167.45 | 0.00449 | 2.695 | 0.524 | 2.52 | 100 | 3.612 | 2.52 | 3.65 | Ethanol | –CH2OH | 2
STD: | 0 | 0.02 | 0.00011 | 0.064 | 0.008 |  |  | 0
| 3.6 | 2160.06 | 0.00524 | 3.142 | 0.205 | 1.148 | 100 | 3.6 | 1.148 | 3.65 | Ethanol | –CH2OH | 2
STD: | 0 | 0.06 | 0.00042 | 0.251 | 0.008 |  |  | 0
| 3.589 | 2153.92 | 0.01351 | 8.108 | 0.035 | 0.512 | 100 | 3.589 | 0.512 | 3.65 | Ethanol | –CH2OH | 2
STD: | 0.001 | 0.79 | 0.00448 | 2.688 | 0.005 |  |  | 0.001
| 3.575 | 2145.25 | 0.00091 | 0.547 | 0.025 | 0.024 | 100 | 3.575 | 0.024 | 3.65 | Ethanol | –CH2OH | 2
STD: | 0.001 | 0.88 | 0.01044 | 6.267 | 0.404 |  |  | 0.001 |  |  |  | –CH2OH |  | 7.704 | 3.852 | 0.3852
| 3.506 | 2103.88 | 0.01425 | 8.551 | 0.107 | 1.64 | 100 | 3.506 | 1.64 | 3.47 | Glucose | –CHOH– | 2
STD: | 0 | 0.21 | 0.00109 | 0.657 | 0.005 |  |  | 0
| 3.493 | 2095.87 | 0.00444 | 2.664 | 0.071 | 0.338 | 100 | 3.493 | 0.338 | 3.47 | Glucose | –CHOH– | 2
STD: | 0 | 0.18 | 0.00132 | 0.791 | 0.01 |  |  | 0
| 3.486 | 2091.74 | 0.00904 | 5.422 | 0.113 | 1.093 | 100 | 3.486 | 1.093 | 3.47 | Glucose | –CHOH– | 2
STD: | 0 | 0.23 | 0.00131 | 0.789 | 0.007 |  |  | 0
| 3.468 | 2081.05 | 0.01085 | 6.512 | 0.113 | 1.313 | 100 | 3.468 | 1.313 | 3.47 | Glucose | –CHOH– | 2
STD: | 0 | 0.17 | 0.00111 | 0.664 | 0.005 |  |  | 0
| 3.451 | 2071.04 | 0.00976 | 5.859 | 0.214 | 2.237 | 100 | 3.451 | 2.237 | 3.46 | Glucose | –CHOH– | 2
STD: | 0 | 0.1 | 0.00074 | 0.442 | 0.009 |  |  | 0
| 3.435 | 2061.01 | 0.01937 | 11.622 | 0.236 | 4.884 | 100 | 3.435 | 4.884 | 3.46 | Glucose | –CHOH– | 2
STD: | 0 | 0.28 | 0.00217 | 1.304 | 0.008 |  |  | 0
| 3.425 | 2055.41 | 0.00549 | 3.294 | 0.068 | 0.398 | 100 | 3.425 | 0.398 | 3.46 | Glucose | –CHOH– | 2
STD: | 0 | 0.24 | 0.00208 | 1.25 | 0.016 |  |  | 0
| 3.415 | 2049.4 | 0.01848 | 11.092 | 0.184 | 3.64 | 100 | 3.415 | 3.64 | 3.46 | Glucose | –CHOH– | 2
STD: | 0 | 0.27 | 0.00131 | 0.784 | 0.009 |  |  | 0 |  |  |  | –CHOH– |  | 15.543 | 7.7715 | 0.77715
| 3.382 | 2029.29 | 0.0141 | 8.46 | 0.235 | 3.553 | 100 | 3.382 | 3.553 | 3.4 | Glucose | –CHOH– | 2
STD: | 0 | 0.11 | 0.00066 | 0.398 | 0.005 |  |  | 0
| 3.367 | 2020.27 | 0.00979 | 5.875 | 0.248 | 2.602 | 100 | 3.367 | 2.602 | 3.4 | Glucose | –CHOH– | 2
STD: | 0 | 0.08 | 0.00061 | 0.365 | 0.007 |  |  | 0
| 3.352 | 2011.31 | 0.01714 | 10.286 | 0.123 | 2.255 | 100 | 3.352 | 2.255 | 3.4 | Glucose | –CHOH– | 2
STD: | 0 | 0.26 | 0.0012 | 0.721 | 0.005 |  |  | 0 |  |  |  | –CHOH– |  | 8.41 | 4.205 | 0.4205
| 3.225 | 1935 | 0.00652 | 3.912 | 0.121 | 0.848 | 100 | 3.225 | 0.848 | 3.23 | Glucose | –CHOH– | 1
STD: | 0 | 0.11 | 0.00057 | 0.341 | 0.007 |  |  | 0
| 3.208 | 1925.21 | 0.00973 | 5.838 | 0.226 | 2.353 | 100 | 3.208 | 2.353 | 3.23 | Glucose | –CHOH– | 1
STD: | 0 | 0.08 | 0.00048 | 0.288 | 0.005 |  |  | 0
| 3.192 | 1915.59 | 0.01125 | 6.749 | 0.138 | 1.658 | 100 | 3.192 | 1.658 | 3.23 | Glucose | –CHOH– | 1
STD: | 0 | 0.14 | 0.00074 | 0.441 | 0.005 |  |  | 0 |  |  |  | –CHOH– |  | 4.859 | 4.859 | 0.4859
| 3 | 23000000000000000 | [5 empty] | 3
| 2.564 | 1538.37 | 0.00707 | 4.243 | 0.012 | 0.092 | 100 | 2.564 | 0.092
STD: | 0.001 | 0.86 | 0.00406 | 2.435 | 0.005 |  |  | 0.001
| 2.232 | 1339.29 | 0.02316 | 13.896 | 0.016 | 0.391 | 100 | 2.232 | 0.391
STD: | 0.002 | 1.2 | 0.00575 | 3.449 | 0.003 |  |  | 0.002
| 2.144 | 1286.72 | 0.01007 | 6.043 | 0.111 | 1.195 | 100 | 2.144 | 1.195 | 2.14 | Butyrate | –CH2– | 2
STD: | 0 | 0.14 | 0.00074 | 0.443 | 0.004 |  |  | 0
| 2.13 | 1278.2 | 0.01022 | 6.13 | 0.235 | 2.568 | 100 | 2.13 | 2.568 | 2.14 | Butyrate | –CH2– | 2
STD: | 0 | 0.08 | 0.00058 | 0.346 | 0.006 |  |  | 0
| 2.117 | 1270.43 | 0.01313 | 7.877 | 0.242 | 3.401 | 100 | 2.117 | 3.401 | 2.14 | Butyrate | –CH2– | 2
STD: | 0 | 0.09 | 0.00081 | 0.487 | 0.006 |  |  | 0
| 2.105 | 1262.94 | 0.00791 | 4.745 | 0.185 | 1.569 | 100 | 2.105 | 1.569 | 2.14 | Butyrate | –CH2– | 2
STD: | 0 | 0.08 | 0.0007 | 0.421 | 0.01 |  |  | 0
| 2.094 | 1256.35 | 0.02906 | 17.439 | 0.162 | 5.041 | 100 | 2.094 | 5.041 | 2.14 | Butyrate | –CH2– | 2
STD: | 0.001 | 0.44 | 0.00111 | 0.669 | 0.006 |  |  | 0.001 |  |  |  | –CH2– |  | 13.774 | 6.887 | 0.55008
| 1.917 | 1150.26 | 0.00059 | 0.352 | 0 | 0 | 100 | 1.917 | 0 | 1.91 | Acetate | –CH3 | 3
STD: | 1.773 | 1064.14 | 17.3273 | 10397.848 | 1.582 |  |  | 1.773
| 1.906 | 1143.78 | 0.00452 | 2.712 | 0.36 | 1.741 | 100 | 1.906 | 1.741 | 1.91 | Acetate | –CH3 | 3
STD: | 0 | 0.02 | 0.00014 | 0.083 | 0.006 |  |  | 0
| 1.894 | 1136.44 | 0.01166 | 6.995 | 0.328 | 4.099 | 100 | 1.894 | 4.099 | 1.91 | Acetate | –CH3 | 3
STD: | 0 | 0.05 | 0.00036 | 0.214 | 0.004 |  |  | 0
| 1.879 | 1127.57 | 0.00938 | 5.628 | 0.915 | 9.189 | 100 | 1.879 | 9.189 | 1.91 | Acetate | –CH3 | 3
STD: | 0 | 0.02 | 0.0001 | 0.062 | 0.005 |  |  | 0
| 1.863 | 1117.99 | 0.00902 | 5.41 | 0.434 | 4.187 | 100 | 1.863 | 4.187 | 1.91 | Acetate | –CH3 | 3
STD: | 0 | 0.03 | 0.0002 | 0.12 | 0.004 |  |  | 0
| 1.851 | 1110.55 | 0.00634 | 3.804 | 0.304 | 2.061 | 100 | 1.851 | 2.061 | 1.91 | Acetate | –CH3 | 3
STD: | 0 | 0.03 | 0.00019 | 0.115 | 0.005 |  |  | 0 |  |  |  | –CH3 |  | 21.277 | 7.0923 | 0.51506
| 1.789 | 1073.31 | 0.00926 | 5.557 | 0.014 | 0.138 | 100 | 1.789 | 0.138
STD: | 0.001 | 0.86 | 0.00419 | 2.517 | 0.004 |  |  | 0.001
| 1.768 | 1060.67 | 0.00168 | 1.006 | 0.021 | 0.037 | 100 | 1.768 | 0.037
STD: | 0 | 0.27 | 0.003 | 1.802 | 0.034 |  |  | 0
| 1.697 | 1018.22 | 0.01607 | 9.643 | 0.018 | 0.302 | 100 | 1.697 | 0.302
STD: | 0.001 | 0.9 | 0.00452 | 2.709 | 0.003 |  |  | 0.001
| 1.599 | 959.45 | 0.01602 | 9.616 | 0.029 | 0.499 | 100 | 1.599 | 0.499
STD: | 0.001 | 0.55 | 0.00347 | 2.08 | 0.003 |  |  | 0.001
| 1.545 | 926.85 | 0.01589 | 9.534 | 0.087 | 1.476 | 100 | 1.545 | 1.476 | 1.54 | Butyrate | –CH2– | 2
STD: | 0 | 0.26 | 0.00177 | 1.064 | 0.005 |  |  | 0
| 1.532 | 919.12 | 0.00631 | 3.787 | 0.195 | 1.315 | 100 | 1.532 | 1.315 | 1.54 | Butyrate | –CH2– | 2
STD: | 0 | 0.06 | 0.00039 | 0.233 | 0.006 |  |  | 0
| 1.52 | 911.9 | 0.00767 | 4.601 | 0.26 | 2.131 | 100 | 1.52 | 2.131 | 1.54 | Butyrate | –CH2– | 2
STD: | 0 | 0.05 | 0.00036 | 0.214 | 0.007 |  |  | 0
| 1.508 | 904.76 | 0.00821 | 4.926 | 0.187 | 1.647 | 100 | 1.508 | 1.647 | 1.54 | Butyrate | –CH2– | 2
STD: | 0 | 0.08 | 0.0006 | 0.359 | 0.007 |  |  | 0
| 1.495 | 897.17 | 0.01547 | 9.282 | 0.105 | 1.743 | 100 | 1.495 | 1.743 | 1.54 | Butyrate | –CH2– | 2
STD: | 0 | 0.24 | 0.0022 | 1.321 | 0.01 |  |  | 0
| 1.475 | 884.84 | 0.09003 | 54.024 | 0.037 | 3.556 | 100 | 1.475 | 3.556 | 1.54 | Butyrate | –CH2– | 2
STD: | 0.017 | 10.25 | 0.02004 | 12.028 | 0.01 |  |  | 0.017 |  |  |  | –CH2– |  | 11.868 | 5.934 | 0.47396
| 1.464 | 878.81 | 0.01158 | 6.947 | 0.186 | 2.307 | 100 | 1.464 | 2.307 | 1.47 | Alanine | –CH3 | 3
STD: | 0 | 0.09 | 0.00085 | 0.512 | 0.009 |  |  | 0
| 1.45 | 870.23 | 0.00937 | 5.625 | 0.6 | 6.026 | 100 | 1.45 | 6.026 | 1.47 | Alanine | –CH3 | 3
STD: | 0 | 0.03 | 0.0002 | 0.117 | 0.008 |  |  | 0
| 1.437 | 862.24 | 0.00932 | 5.596 | 0.677 | 6.764 | 100 | 1.437 | 6.764 | 1.47 | Alanine | –CH3 | 3
STD: | 0 | 0.02 | 0.00017 | 0.105 | 0.006 |  |  | 0
| 1.423 | 854.05 | 0.01627 | 9.764 | 0.278 | 4.835 | 100 | 1.423 | 4.835 | 1.47 | Alanine | –CH3 | 3
STD: | 0 | 0.09 | 0.0006 | 0.358 | 0.005 |  |  | 0 |  |  |  | –CH3 |  | 19.932 | 6.644 | 0.6644
| 1.288 | 772.78 | 0.05768 | 34.61 | 0.043 | 2.655 | 100 | 1.288 | 2.655
STD: | 0.001 | 0.72 | 0.00414 | 2.483 | 0.002 |  |  | 0.001
| 1.203 | 721.94 | 0.00218 | 1.307 | 0.011 | 0.027 | 100 | 1.203 | 0.027
STD: | 0.001 | 0.72 | 0.00276 | 1.655 | 0.01 |  |  | 0.001
| 1.187 | 712.46 | 0.00911 | 5.466 | 0.015 | 0.143 | 100 | 1.187 | 0.143 | 1.17 | Ethanol | –CH3 | 3
STD: | 0.001 | 0.83 | 0.00464 | 2.787 | 0.004 |  |  | 0.001
| 1.171 | 702.94 | 0.00564 | 3.387 | 0.128 | 0.773 | 100 | 1.171 | 0.773 | 1.17 | Ethanol | –CH3 | 3
STD: | 0 | 0.08 | 0.00044 | 0.263 | 0.006 |  |  | 0
| 1.159 | 695.48 | 0.00688 | 4.129 | 0.289 | 2.128 | 100 | 1.159 | 2.128 | 1.17 | Ethanol | –CH3 | 3
STD: | 0 | 0.04 | 0.00029 | 0.175 | 0.006 |  |  | 0
| 1.148 | 688.65 | 0.01156 | 6.936 | 0.37 | 4.584 | 100 | 1.148 | 4.584 | 1.17 | Ethanol | –CH3 | 3
STD: | 0 | 0.06 | 0.00046 | 0.278 | 0.006 |  |  | 0
| 1.136 | 681.68 | 0.00898 | 5.388 | 0.28 | 2.687 | 100 | 1.136 | 2.687 | 1.17 | Ethanol | –CH3 | 3
STD: | 0 | 0.06 | 0.00042 | 0.253 | 0.007 |  |  | 0
| 1.123 | 674.18 | 0.00555 | 3.329 | 0.114 | 0.679 | 100 | 1.123 | 0.679 | 1.17 | Ethanol | –CH3 | 3
STD: | 0 | 0.09 | 0.00068 | 0.409 | 0.007 |  |  | 0
| 1.11 | 665.97 | 0.05087 | 30.524 | 0.013 | 0.719 | 100 | 1.11 | 0.719 | 1.17 | Ethanol | –CH3 | 3
STD: | 0.012 | 7.38 | 0.02573 | 15.438 | 0.003 |  |  | 0.012 |  |  |  | –CH3 |  | 11.713 | 3.9043 | 0.39043
| 1.008 | 604.75 | 0.05345 | 32.077 | 0.055 | 3.125 | 100 | 1.008 | 3.125
STD: | 0.002 | 0.91 | 0.00339 | 2.036 | 0.003 |  |  | 0.002
| 0.989 | 593.63 | 0.00826 | 4.954 | 0.021 | 0.181 | 100 | 0.989 | 0.181
STD: | 0.001 | 0.57 | 0.00395 | 2.367 | 0.005 |  |  | 0.001
| 0.907 | 544.12 | 0.00825 | 4.948 | 0.069 | 0.609 | 100 | 0.907 | 0.609 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.19 | 0.00102 | 0.614 | 0.005 |  |  | 0
| 0.894 | 536.18 | 0.00942 | 5.653 | 0.139 | 1.406 | 100 | 0.894 | 1.406 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.12 | 0.00091 | 0.543 | 0.007 |  |  | 0
| 0.88 | 528.22 | 0.01432 | 8.596 | 0.226 | 3.468 | 100 | 0.88 | 3.468 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.14 | 0.00123 | 0.737 | 0.01 |  |  | 0
| 0.867 | 520.41 | 0.01278 | 7.669 | 0.263 | 3.6 | 100 | 0.867 | 3.6 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.14 | 0.00129 | 0.776 | 0.016 |  |  | 0
| 0.857 | 514.54 | 0.01024 | 6.142 | 0.268 | 2.932 | 100 | 0.857 | 2.932 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.11 | 0.0009 | 0.54 | 0.016 |  |  | 0
| 0.846 | 507.89 | 0.0097 | 5.821 | 0.26 | 2.699 | 100 | 0.846 | 2.699 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.08 | 0.00064 | 0.384 | 0.007 |  |  | 0
| 0.836 | 501.54 | 0.00754 | 4.526 | 0.19 | 1.538 | 100 | 0.836 | 1.538 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.08 | 0.00065 | 0.391 | 0.007 |  |  | 0
| 0.825 | 495.2 | 0.01089 | 6.538 | 0.182 | 2.124 | 100 | 0.825 | 2.124 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.11 | 0.00089 | 0.536 | 0.005 |  |  | 0
| 0.812 | 487.56 | 0.01008 | 6.05 | 0.073 | 0.791 | 100 | 0.812 | 0.791 | 0.88 | Butyrate | –CH3 | 3
STD: | 0 | 0.23 | 0.00125 | 0.751 | 0.005 |  |  | 0 |  |  |  | –CH3 | 3 | 19.167 | 6.389 | 0.5103
| 0.731 | 438.82 | 0.00674 | 4.046 | 0.034 | 0.244 | 100 | 0.731 | 0.244
STD: | 0.001 | 0.31 | 0.00166 | 0.994 | 0.005 |  |  | 0.001
| 0.714 | 428.17 | 0.00963 | 5.778 | 0.037 | 0.378 | 100 | 0.714 | 0.378
STD: | 0.001 | 0.39 | 0.00293 | 1.756 | 0.006 |  |  | 0.001
| 0.698 | 419.09 | 0.03088 | 18.528 | 0.036 | 1.179 | 100 | 0.698 | 1.179
STD: | 0.002 | 1.46 | 0.00456 | 2.736 | 0.004 |  |  | 0.002
| 0.507 | 304.25 | 0.02153 | 12.922 | 0.007 | 0.151 | 100 | 0.507 | 0.151
STD: | 0.005 | 2.78 | 0.01314 | 7.887 | 0.003 |  |  | 0.005
| 0.201 | 120.46 | 0.03588 | 21.532 | 0.01 | 0.381 | 100 | 0.201 | 0.381
STD: | 0.005 | 3.12 | 0.01569 | 9.415 | 0.002 |  |  | 0.005
[10 empty] | 109.38 | Glucose
[10 empty] | 30.09 | Ethanol
[10 empty] | 17.19 | Alanine
[10 empty] | 11.46 | Acetate
[10 empty] | 27.86 | Butyrate | [7 empty] | A |  |  | B |  |  | C
[14 empty] | Signal | Signal/proton | Signal/proton/mM |  |  | Raw integral | Norm proton | Norm cx proton | Raw integral | Norm proton | Norm cx proton | Raw integral | Norm proton | Norm cx proton
STD: | 0 | 0.05 | 0.00027 | 0.16 | 0.003 |  |  | 0 |  |  | Glucose | –CH(O)(OH) |  | 1.591 | 1.591 | 0.1591
STD: | 0 | 0.13 | 0.00077 | 0.464 | 0.004 |  |  | 0 |  |  | Glucose | –CH2OH |  | 11.745 | 5.8725 | 0.58725
STD: | 0 | 0.17 | 0.00136 | 0.814 | 0.011 |  |  | 0 |  |  | Alanine | –CHNH2– |  | 8.4 | 8.4 | 0.84
STD: | 0 | 0.08 | 0.00175 | 1.053 | 0.084 |  |  | 0 |  |  | Glucose | –CH2OH |  | 9.407 | 4.7035 | 0.47035
STD: | 0.001 | 0.88 | 0.01044 | 6.267 | 0.404 |  |  | 0.001 |  |  | Ethanol | –CH2OH |  | 7.704 | 3.852 | 0.3852
STD: | 0 | 0.17 | 0.00111 | 0.664 | 0.005 |  |  | 0 |  |  | Glucose | –CHOH– |  | 4.384 | 4.384 | 0.4384
STD: | 0 | 0.27 | 0.00131 | 0.784 | 0.009 |  |  | 0 |  |  | Glucose | –CHOH– |  | 11.159 | 11.159 | 1.1159
STD: | 0 | 0.26 | 0.0012 | 0.721 | 0.005 |  |  | 0 |  |  | Glucose | –CHOH– |  | 8.41 | 8.41 | 0.841
STD: | 0 | 0.14 | 0.00074 | 0.441 | 0.005 |  |  | 0 |  |  | Glucose | –CHOH– |  | 4.859 | 4.859 | 0.4859 | # protons | cx
STD: | 0.001 | 0.44 | 0.00111 | 0.669 | 0.006 |  |  | 0.001 |  |  | Butyrate | –CH2– |  | 13.774 | 6.887 | 0.55008 | 2 | 12.52 | 0.0788 | 0.0394 | 0.003147 | 0.1404 | 0.0702 | 0.005607 | 0.0959 | 0.04795 | 0.0038299
STD: | 0 | 0.03 | 0.00019 | 0.115 | 0.005 |  |  | 0 |  |  | Acetate | –CH3 |  | 21.277 | 7.0923 | 0.51506 | 3 | 13.77 | 0.1233 | 0.0411 | 0.0029847 | 0.2031 | 0.0677 | 0.0049165 | 0.128 | 0.042667 | 0.0030985
STD: | 0.017 | 10.25 | 0.02004 | 12.028 | 0.01 |  |  | 0.017 |  |  | Butyrate | –CH2– |  | 11.868 | 5.934 | 0.47396 | 5 | 11.08 | 0.1879 | 0.03758 | 0.0034133 | 0.326 | 0.0652 | 0.0058845 | 0.2317 | 0.04634 | 0.0041823
STD: | 0 | 0.09 | 0.0006 | 0.358 | 0.005 |  |  | 0 |  |  | Alanine | –CH3 |  | 19.932 | 6.644 | 0.6644
STD: | 0.012 | 7.38 | 0.02573 | 15.438 | 0.003 |  |  | 0.012 |  |  | Ethanol | –CH3 |  | 11.713 | 3.9043 | 0.39043 | 3 | 10 | 0.0711 | 0.0237 | 0.00237 | 0.1193 | 0.039767 | 0.0039767 | 0.0845 | 0.028167 | 0.0028167
STD: | 0 | 0.23 | 0.00125 | 0.751 | 0.005 |  |  | 0 |  |  | Butyrate | –CH3 |  | 19.167 | 6.389 | 0.5103 | 3 | 12.52 | 0.1156 | 0.038533 | 0.0030777 | 0.2038 | 0.067933 | 0.005426 | 0.146 | 0.048667 | 0.0038871
[11 empty] | B+A |  |  | 31.8 | 6.36 | 0.57401
[11 empty] | Threonine | Amino (–CHNH2–) | 0.1483 | 1 | 0.1483
[11 empty] | Threonine | Hydroxy (–CHOH–) | 0.2329 | 1 | 0.2329
[11 empty] | Threonine | Methyl | 0.7073 | 3 | 0.23577

## Std B
Data | set: | /Volumes/cctm/apavao/NMR/20230306_13CGlc_standards/23/pdata/2/
Fit | type: | Mixed | Lorentzian | and | Gaussian
Fit | Frequency |  | Width |  | Intensity | Area | %Lor.
| ppm | Hz | ppm | Hz |  |  | chisq
| 1 | 11000000000000000
[8 empty] | Ref ppm | Ref cpd | Group | Protons | Signal | Signal/proton
| 2.145 | 1287.24 | 0.00976 | 5.859 | 0.116 | 1.214 | 100 | 2.14 | Butyrate | –CH2– | 2 | 1.214 | 0.607
STD: | 0 | 0.19 | 0.00106 | 0.636 | 0.007
| 2.131 | 1278.92 | 0.01074 | 6.447 | 0.25 | 2.88 | 100 | 2.14 | Butyrate | –CH2– | 2 | 2.88 | 1.44
STD: | 0 | 0.11 | 0.00084 | 0.507 | 0.009
| 2.118 | 1271.08 | 0.01252 | 7.511 | 0.24 | 3.211 | 100 | 2.14 | Butyrate | –CH2– | 2 | 3.211 | 1.6055
STD: | 0 | 0.13 | 0.00114 | 0.684 | 0.01
| 2.106 | 1263.76 | 0.00769 | 4.612 | 0.176 | 1.446 | 100 | 2.14 | Butyrate | –CH2– | 2 | 1.446 | 0.723
STD: | 0 | 0.12 | 0.00112 | 0.671 | 0.017
SUM
| 2.096 | 1257.93 | 0.03114 | 18.688 | 0.168 | 5.586 | 100 | 2.14 | Butyrate | –CH2– | 2 | 5.586 | 2.793 |  | 14.337
STD: | 0.001 | 0.8 | 0.00168 | 1.011 | 0.011
| 1.907 | 1144.48 | 0.0047 | 2.82 | 0.377 | 1.895 | 100 | 1.91 | Acetate | –CH3 | 3 | 1.895 | 0.63167
STD: | 0 | 0.03 | 0.0002 | 0.12 | 0.009
| 1.895 | 1136.9 | 0.012 | 7.198 | 0.32 | 4.115 | 100 | 1.91 | Acetate | –CH3 | 3 | 4.115 | 1.3717
STD: | 0 | 0.08 | 0.00055 | 0.33 | 0.006
| 1.88 | 1128.19 | 0.00925 | 5.55 | 0.92 | 9.11 | 100 | 1.91 | Acetate | –CH3 | 3 | 9.11 | 3.0367
STD: | 0 | 0.02 | 0.00015 | 0.089 | 0.007
| 1.864 | 1118.84 | 0.0076 | 4.563 | 0.458 | 3.729 | 100 | 1.91 | Acetate | –CH3 | 3 | 3.729 | 1.243
STD: | 0 | 0.04 | 0.00023 | 0.138 | 0.007
| 1.852 | 1111.21 | 0.00624 | 3.745 | 0.312 | 2.084 | 100 | 1.91 | Acetate | –CH3 | 3 | 2.084 | 0.69467 |  | 20.933
STD: | 0 | 0.05 | 0.00026 | 0.154 | 0.008
| 1.782 | 1069.24 | 0.00455 | 2.731 | 0.019 | 0.095 | 100
STD: | 0.001 | 0.63 | 0.00303 | 1.816 | 0.009
| 1.699 | 1019.41 | 0.01308 | 7.847 | 0.02 | 0.28 | 100
STD: | 0.002 | 1.04 | 0.00494 | 2.965 | 0.005
| 1.601 | 960.69 | 0.01677 | 10.061 | 0.038 | 0.691 | 100
STD: | 0.001 | 0.62 | 0.00303 | 1.818 | 0.005
| 1.546 | 927.69 | 0.01634 | 9.807 | 0.099 | 1.735 | 100 | 1.54 | Butyrate | –CH2– | 2 | 1.735 | 0.8675
STD: | 0.001 | 0.34 | 0.00169 | 1.015 | 0.005
| 1.533 | 920.08 | 0.00616 | 3.696 | 0.23 | 1.518 | 100 | 1.54 | Butyrate | –CH2– | 2 | 1.518 | 0.759
STD: | 0 | 0.07 | 0.00047 | 0.281 | 0.009
| 1.521 | 912.79 | 0.00721 | 4.328 | 0.297 | 2.295 | 100 | 1.54 | Butyrate | –CH2– | 2 | 2.295 | 1.1475
STD: | 0 | 0.06 | 0.00038 | 0.231 | 0.007
| 1.509 | 905.6 | 0.0085 | 5.098 | 0.22 | 1.999 | 100 | 1.54 | Butyrate | –CH2– | 2 | 1.999 | 0.9995
STD: | 0 | 0.1 | 0.00074 | 0.446 | 0.009
| 1.496 | 898 | 0.01372 | 8.234 | 0.134 | 1.974 | 100 | 1.54 | Butyrate | –CH2– | 2 | 1.974 | 0.987
STD: | 0 | 0.24 | 0.00192 | 1.149 | 0.006
| 1.483 | 890.11 | 0.00596 | 3.575 | 0.053 | 0.339 | 100 | 1.54 | Butyrate | –CH2– | 2 | 0.339 | 0.1695 |  | 9.86
STD: | 0 | 0.29 | 0.00191 | 1.148 | 0.009
| 1.465 | 879.4 | 0.01144 | 6.865 | 0.227 | 2.78 | 100 | 1.47 | Alanine | –CH3 | 3 | 2.78 | 0.92667
STD: | 0 | 0.11 | 0.00066 | 0.396 | 0.006
| 1.451 | 870.82 | 0.00937 | 5.624 | 0.653 | 6.554 | 100 | 1.47 | Alanine | –CH3 | 3 | 6.554 | 2.1847
STD: | 0 | 0.03 | 0.00025 | 0.148 | 0.007
| 1.438 | 862.82 | 0.01019 | 6.115 | 0.691 | 7.54 | 100 | 1.47 | Alanine | –CH3 | 3 | 7.54 | 2.5133
STD: | 0 | 0.04 | 0.00029 | 0.176 | 0.009
| 1.424 | 854.67 | 0.01919 | 11.518 | 0.296 | 6.088 | 100 | 1.47 | Alanine | –CH3 | 3 | 6.088 | 2.0293 |  | 22.962
STD: | 0 | 0.17 | 0.00068 | 0.407 | 0.007
| 1.29 | 773.93 | 0.05866 | 35.2 | 0.05 | 3.168 | 100
STD: | 0.001 | 0.88 | 0.00455 | 2.732 | 0.003
| 1.189 | 713.47 | 0.00859 | 5.155 | 0.021 | 0.191 | 100
STD: | 0.001 | 0.83 | 0.00434 | 2.605 | 0.007
| 1.173 | 703.7 | 0.00592 | 3.553 | 0.13 | 0.822 | 100 | 1.17 | Ethanol | –CH3 | 3 | 0.822 | 0.274
STD: | 0 | 0.11 | 0.00065 | 0.391 | 0.008
| 1.16 | 696.39 | 0.00715 | 4.289 | 0.285 | 2.179 | 100 | 1.17 | Ethanol | –CH3 | 3 | 2.179 | 0.72633
STD: | 0 | 0.07 | 0.00046 | 0.274 | 0.009
| 1.149 | 689.46 | 0.01196 | 7.175 | 0.374 | 4.786 | 100 | 1.17 | Ethanol | –CH3 | 3 | 4.786 | 1.5953
STD: | 0 | 0.08 | 0.00069 | 0.414 | 0.007
| 1.137 | 682.51 | 0.00808 | 4.846 | 0.274 | 2.372 | 100 | 1.17 | Ethanol | –CH3 | 3 | 2.372 | 0.79067
STD: | 0 | 0.08 | 0.00057 | 0.344 | 0.009
| 1.125 | 675.23 | 0.00775 | 4.648 | 0.104 | 0.864 | 100 | 1.17 | Ethanol | –CH3 | 3 | 0.864 | 0.288 |  | 11.023
STD: | 0 | 0.17 | 0.00097 | 0.58 | 0.007
| 1.007 | 604.27 | 0.06492 | 38.958 | 0.061 | 4.208 | 100
STD: | 0.006 | 3.85 | 0.04465 | 26.794 | 0.115
| 0.997 | 598.21 | 0.11732 | 70.4 | 0 | 0.008 | 100
STD: | 15.592 | 9356.61 | 59.466 | 35684.521 | 0.116
| 0.908 | 544.95 | 0.00917 | 5.503 | 0.074 | 0.726 | 100 | 0.89 | Butyrate | –CH3 | 3 | 0.726 | 0.242
STD: | 0 | 0.28 | 0.00169 | 1.011 | 0.007
| 0.895 | 536.94 | 0.00962 | 5.772 | 0.147 | 1.512 | 100 | 0.89 | Butyrate | –CH3 | 3 | 1.512 | 0.504
STD: | 0 | 0.18 | 0.00134 | 0.805 | 0.01
| 0.882 | 529.11 | 0.01426 | 8.556 | 0.244 | 3.725 | 100 | 0.89 | Butyrate | –CH3 | 3 | 3.725 | 1.2417
STD: | 0 | 0.19 | 0.00168 | 1.009 | 0.013
| 0.869 | 521.54 | 0.01162 | 6.972 | 0.269 | 3.344 | 100 | 0.89 | Butyrate | –CH3 | 3 | 3.344 | 1.1147
STD: | 0 | 0.17 | 0.00157 | 0.94 | 0.022
| 0.859 | 515.58 | 0.01076 | 6.455 | 0.304 | 3.5 | 100 | 0.89 | Butyrate | –CH3 | 3 | 3.5 | 1.1667
STD: | 0 | 0.14 | 0.00118 | 0.706 | 0.019
| 0.848 | 508.85 | 0.00958 | 5.748 | 0.274 | 2.814 | 100 | 0.89 | Butyrate | –CH3 | 3 | 2.814 | 0.938
STD: | 0 | 0.1 | 0.00086 | 0.513 | 0.011
| 0.837 | 502.44 | 0.00721 | 4.328 | 0.217 | 1.68 | 100 | 0.89 | Butyrate | –CH3 | 3 | 1.68 | 0.56
STD: | 0 | 0.1 | 0.00076 | 0.455 | 0.01
| 0.827 | 496.06 | 0.01023 | 6.139 | 0.185 | 2.025 | 100 | 0.89 | Butyrate | –CH3 | 3 | 2.025 | 0.675
STD: | 0 | 0.15 | 0.00121 | 0.725 | 0.008
| 0.815 | 488.96 | 0.01014 | 6.083 | 0.072 | 0.785 | 100 | 0.89 | Butyrate | –CH3 | 3 | 0.785 | 0.26167 |  | 20.111
STD: | 0.001 | 0.36 | 0.00192 | 1.149 | 0.008
| 0.733 | 439.97 | 0.00363 | 2.176 | 0.033 | 0.127 | 100
STD: | 0.001 | 0.32 | 0.00206 | 1.239 | 0.011
| 0.711 | 426.47 | 0.02971 | 17.828 | 0.053 | 1.691 | 100
STD: | 0.001 | 0.67 | 0.00407 | 2.442 | 0.004
[10 empty] | Protons | Cx | Signal | Sig/protons | Sig/P/Cx
[9 empty] | Butyrate | 2 | 12.52 | 14.337 | 7.1685 | 0.57256
[9 empty] | Acetate | 3 | 13.77 | 20.933 | 6.9777 | 0.50673
[9 empty] | Butyrate | 2 | 12.52 | 9.86 | 4.93 | 0.39377
[9 empty] | Alanine | 3 | 10 | 22.962 | 7.654 | 0.7654
[9 empty] | Ethanol | 3 | 10 | 11.023 | 3.6743 | 0.36743
[9 empty] | Butyrate | 3 | 12.52 | 20.111 | 6.7037 | 0.53544
[9 empty] | B+A | 5 | 11.08 | 32.822 | 6.5644 | 0.59245

## Std C
Data | set: | /Volumes/cctm/apavao/NMR/20230306_13CGlc_standards/33/pdata/2/
Fit | type: | Mixed | Lorentzian | and | Gaussian
Fit | Frequency |  | Width |  | Intensity | Area | %Lor.
| ppm | Hz | ppm | Hz |  |  | chisq
| 1 | 19000000000000000
[8 empty] | Ref ppm | Ref cpd | Group | Protons | Signal | Signal/proton
| 2.234 | 1340.58 | 0.01907 | 11.443 | 0.016 | 0.332 | 100 | 2.14 | Butyrate | –CH2– | 2 | 0.332 | 0.166
STD: | 0.003 | 1.84 | 0.0091 | 5.459 | 0.005
| 2.148 | 1288.94 | 0.01007 | 6.04 | 0.127 | 1.364 | 100 | 2.14 | Butyrate | –CH2– | 2 | 1.364 | 0.682
STD: | 0 | 0.2 | 0.00111 | 0.665 | 0.008
| 2.134 | 1280.41 | 0.01013 | 6.081 | 0.287 | 3.111 | 100 | 2.14 | Butyrate | –CH2– | 2 | 3.111 | 1.5555
STD: | 0 | 0.11 | 0.00078 | 0.471 | 0.01
| 2.121 | 1272.8 | 0.01157 | 6.945 | 0.284 | 3.524 | 100 | 2.14 | Butyrate | –CH2– | 2 | 3.524 | 1.762
STD: | 0 | 0.12 | 0.00101 | 0.608 | 0.009
| 2.109 | 1265.5 | 0.00839 | 5.037 | 0.229 | 2.058 | 100 | 2.14 | Butyrate | –CH2– | 2 | 2.058 | 1.029
STD: | 0 | 0.12 | 0.001 | 0.598 | 0.015
SUM
| 2.097 | 1258.22 | 0.02517 | 15.105 | 0.177 | 4.778 | 100 | 2.14 | Butyrate | –CH2– | 2 | 4.778 | 2.389 |  | 15.167
STD: | 0.001 | 0.52 | 0.00158 | 0.946 | 0.008
| 1.926 | 1155.61 | 0.00044 | 0.264 | 0 | 0 | 100 | 1.91 | Acetate | –CH3 | 3 | 0 | 0
STD: | 3.059 | 1835.88 | 79.5145 | 47715.302 | 9.441
| 1.91 | 1145.95 | 0.005 | 2.998 | 0.406 | 2.174 | 100 | 1.91 | Acetate | –CH3 | 3 | 2.174 | 0.72467
STD: | 0 | 0.04 | 0.00022 | 0.134 | 0.01
| 1.899 | 1139.66 | 0.00627 | 3.762 | 0.294 | 1.971 | 100 | 1.91 | Acetate | –CH3 | 3 | 1.971 | 0.657
STD: | 0 | 0.11 | 0.0006 | 0.36 | 0.014
| 1.894 | 1136.37 | 0.00518 | 3.107 | 0.142 | 0.787 | 100 | 1.91 | Acetate | –CH3 | 3 | 0.787 | 0.26233
STD: | 0 | 0.18 | 0.00118 | 0.706 | 0.017
| 1.883 | 1129.77 | 0.00987 | 5.921 | 0.924 | 9.765 | 100 | 1.91 | Acetate | –CH3 | 3 | 9.765 | 3.255
STD: | 0 | 0.03 | 0.00018 | 0.106 | 0.008
| 1.867 | 1120.46 | 0.00608 | 3.65 | 0.471 | 3.069 | 100 | 1.91 | Acetate | –CH3 | 3 | 3.069 | 1.023
STD: | 0 | 0.04 | 0.00023 | 0.136 | 0.009
SUM
| 1.855 | 1113.01 | 0.00743 | 4.458 | 0.318 | 2.53 | 100 | 1.91 | Acetate | –CH3 | 3 | 2.53 | 0.84333 |  | 20.296
STD: | 0 | 0.06 | 0.00033 | 0.195 | 0.008
| 1.812 | 1087.43 | 0.0015 | 0.902 | 0 | 0 | 100
STD: | 2.18 | 1308.4 | 2.2203 | 1332.336 | 0.012
| 1.795 | 1076.87 | 0.00599 | 3.592 | 0.018 | 0.116 | 100
STD: | 0.002 | 0.94 | 0.00472 | 2.83 | 0.009
| 1.783 | 1070.06 | 0.0031 | 1.862 | 0.022 | 0.072 | 100
STD: | 0.001 | 0.57 | 0.00299 | 1.794 | 0.014
| 1.772 | 1063.6 | 0.00315 | 1.891 | 0.006 | 0.02 | 100
STD: | 0.004 | 2.33 | 0.00903 | 5.419 | 0.012
| 1.71 | 1026.41 | 0.00663 | 3.98 | 0.014 | 0.102 | 100
STD: | 0.002 | 1.27 | 0.0068 | 4.081 | 0.009
| 1.695 | 1017.34 | 0.01038 | 6.23 | 0.022 | 0.245 | 100
STD: | 0.002 | 1.06 | 0.00561 | 3.369 | 0.007
| 1.618 | 971.03 | 0.00326 | 1.958 | 0.013 | 0.044 | 100
STD: | 0.002 | 1.01 | 0.00498 | 2.989 | 0.013
| 1.607 | 964.21 | 0.00648 | 3.886 | 0.039 | 0.271 | 100
STD: | 0.001 | 0.51 | 0.00319 | 1.912 | 0.01
| 1.596 | 957.53 | 0.01202 | 7.213 | 0.026 | 0.334 | 100
STD: | 0.002 | 1.25 | 0.00641 | 3.844 | 0.007
| 1.548 | 929.17 | 0.0165 | 9.899 | 0.113 | 1.994 | 100 | 1.54 | Butyrate | –CH2– | 2 | 1.994 | 0.997
STD: | 0.001 | 0.35 | 0.00178 | 1.068 | 0.006
| 1.536 | 921.56 | 0.00578 | 3.468 | 0.243 | 1.501 | 100 | 1.54 | Butyrate | –CH2– | 2 | 1.501 | 0.7505
STD: | 0 | 0.07 | 0.0005 | 0.302 | 0.01
| 1.524 | 914.33 | 0.0074 | 4.44 | 0.317 | 2.511 | 100 | 1.54 | Butyrate | –CH2– | 2 | 2.511 | 1.2555
STD: | 0 | 0.07 | 0.00045 | 0.27 | 0.009
| 1.512 | 907.23 | 0.00917 | 5.504 | 0.238 | 2.333 | 100 | 1.54 | Butyrate | –CH2– | 2 | 2.333 | 1.1665
STD: | 0 | 0.12 | 0.00091 | 0.543 | 0.01
| 1.499 | 899.8 | 0.01236 | 7.415 | 0.14 | 1.853 | 100 | 1.54 | Butyrate | –CH2– | 2 | 1.853 | 0.9265
STD: | 0 | 0.26 | 0.00204 | 1.225 | 0.008
SUM
| 1.487 | 892.19 | 0.00674 | 4.047 | 0.063 | 0.455 | 100 | 1.54 | Butyrate | –CH2– | 2 | 0.455 | 0.2275 |  | 10.647
STD: | 0.001 | 0.32 | 0.00211 | 1.265 | 0.01
| 1.469 | 881.3 | 0.01155 | 6.933 | 0.249 | 3.079 | 100 | 1.47 | Alanine | –CH3 | 3 | 3.079 | 1.0263
STD: | 0 | 0.11 | 0.00072 | 0.429 | 0.007
| 1.454 | 872.68 | 0.00896 | 5.377 | 0.742 | 7.118 | 100 | 1.47 | Alanine | –CH3 | 3 | 7.118 | 2.3727
STD: | 0 | 0.03 | 0.00024 | 0.142 | 0.008
| 1.441 | 864.72 | 0.00927 | 5.565 | 0.826 | 8.202 | 100 | 1.47 | Alanine | –CH3 | 3 | 8.202 | 2.734
STD: | 0 | 0.03 | 0.00024 | 0.145 | 0.009
SUM
| 1.428 | 856.81 | 0.01466 | 8.8 | 0.361 | 5.668 | 100 | 1.47 | Alanine | –CH3 | 3 | 5.668 | 1.8893 |  | 24.067
STD: | 0 | 0.11 | 0.00052 | 0.314 | 0.007
| 1.288 | 773.09 | 0.05866 | 35.2 | 0.054 | 3.379 | 100
STD: | 0.002 | 0.98 | 0.00515 | 3.093 | 0.003
| 1.208 | 725.08 | 0.00141 | 0.845 | 0.019 | 0.029 | 100
STD: | 0.001 | 0.68 | 0.00733 | 4.398 | 0.105
| 1.192 | 715.51 | 0.0085 | 5.103 | 0.017 | 0.159 | 100
STD: | 0.002 | 1.17 | 0.00626 | 3.756 | 0.008
| 1.175 | 705.39 | 0.0057 | 3.418 | 0.136 | 0.827 | 100 | 1.17 | Ethanol | –CH3 | 3 | 0.827 | 0.27567
STD: | 0 | 0.13 | 0.0007 | 0.418 | 0.01
| 1.163 | 698.1 | 0.00664 | 3.985 | 0.309 | 2.198 | 100 | 1.17 | Ethanol | –CH3 | 3 | 2.198 | 0.73267
STD: | 0 | 0.07 | 0.00045 | 0.272 | 0.01
| 1.152 | 691.2 | 0.01172 | 7.034 | 0.409 | 5.132 | 100 | 1.17 | Ethanol | –CH3 | 3 | 5.132 | 1.7107
STD: | 0 | 0.09 | 0.0007 | 0.421 | 0.008
| 1.14 | 684.22 | 0.00809 | 4.857 | 0.306 | 2.655 | 100 | 1.17 | Ethanol | –CH3 | 3 | 2.655 | 0.885
STD: | 0 | 0.08 | 0.00058 | 0.35 | 0.01
SUM
| 1.128 | 676.75 | 0.00725 | 4.35 | 0.129 | 0.998 | 100 | 1.17 | Ethanol | –CH3 | 3 | 0.998 | 0.33267 |  | 11.81
STD: | 0 | 0.16 | 0.00087 | 0.525 | 0.009
| 1.01 | 605.8 | 0.06631 | 39.791 | 0.062 | 4.369 | 100
STD: | 0.005 | 3.03 | 0.04741 | 28.452 | 0.108
| 1.001 | 600.74 | 0.13198 | 79.2 | 0.002 | 0.341 | 100
STD: | 0.37 | 221.95 | 2.0932 | 1256.124 | 0.109
| 0.911 | 546.7 | 0.00756 | 4.539 | 0.082 | 0.665 | 100 | 0.89 | Butyrate | –CH3 | 3 | 0.665 | 0.22167
STD: | 0 | 0.25 | 0.00152 | 0.911 | 0.009
| 0.898 | 538.67 | 0.00951 | 5.708 | 0.163 | 1.664 | 100 | 0.89 | Butyrate | –CH3 | 3 | 1.664 | 0.55467
STD: | 0 | 0.18 | 0.00131 | 0.785 | 0.011
| 0.885 | 530.94 | 0.01329 | 7.975 | 0.254 | 3.613 | 100 | 0.89 | Butyrate | –CH3 | 3 | 3.613 | 1.2043
STD: | 0 | 0.19 | 0.00168 | 1.011 | 0.016
| 0.872 | 523.01 | 0.01318 | 7.912 | 0.325 | 4.59 | 100 | 0.89 | Butyrate | –CH3 | 3 | 4.59 | 1.53
STD: | 0 | 0.19 | 0.00171 | 1.026 | 0.022
| 0.861 | 516.88 | 0.00979 | 5.876 | 0.299 | 3.132 | 100 | 0.89 | Butyrate | –CH3 | 3 | 3.132 | 1.044
STD: | 0 | 0.14 | 0.00129 | 0.774 | 0.025
| 0.851 | 510.42 | 0.01018 | 6.107 | 0.299 | 3.255 | 100 | 0.89 | Butyrate | –CH3 | 3 | 3.255 | 1.085
STD: | 0 | 0.12 | 0.00102 | 0.611 | 0.012
| 0.84 | 504.17 | 0.00668 | 4.01 | 0.218 | 1.563 | 100 | 0.89 | Butyrate | –CH3 | 3 | 1.563 | 0.521
STD: | 0 | 0.11 | 0.00088 | 0.527 | 0.014
| 0.83 | 497.9 | 0.01156 | 6.937 | 0.213 | 2.631 | 100 | 0.89 | Butyrate | –CH3 | 3 | 2.631 | 0.877
STD: | 0 | 0.17 | 0.0014 | 0.838 | 0.008
SUM
| 0.817 | 490.29 | 0.00924 | 5.544 | 0.079 | 0.784 | 100 | 0.89 | Butyrate | –CH3 | 3 | 0.784 | 0.26133 |  | 21.897
STD: | 0.001 | 0.34 | 0.00198 | 1.191 | 0.009
| 0.736 | 441.46 | 0.00697 | 4.185 | 0.044 | 0.325 | 100
STD: | 0.001 | 0.42 | 0.00243 | 1.457 | 0.009
| 0.718 | 430.98 | 0.00777 | 4.662 | 0.041 | 0.337 | 100
STD: | 0.001 | 0.52 | 0.0041 | 2.457 | 0.012
| 0.704 | 422.49 | 0.03346 | 20.08 | 0.042 | 1.504 | 100
STD: | 0.004 | 2.42 | 0.00843 | 5.057 | 0.006
[10 empty] | Protons | Cx | Signal | Sig/protons | Sig/P/Cx
[9 empty] | Butyrate | 2 | 12.52 | 15.167 | 7.5835 | 0.60571
[9 empty] | Acetate | 3 | 13.77 | 20.296 | 6.7653 | 0.49131
[9 empty] | Butyrate | 2 | 12.52 | 10.647 | 5.3235 | 0.4252
[9 empty] | Alanine | 3 | 10 | 24.067 | 8.0223 | 0.80223
[9 empty] | Ethanol | 3 | 10 | 11.81 | 3.9367 | 0.39367
[9 empty] | Butyrate | 3 | 12.52 | 21.897 | 7.299 | 0.58299
[9 empty] | B+A | 5 | 11.08 | 34.714 | 6.9428 | 0.62661

## Threonine
Exp 1
PPM shift | Cpd | # Protons | Signal | Norm. signal | 2Norm
4.24 | Threonine | 1 | 1 | 1 | 0.21174
3.58 | Threonine | 1 | 1.8679 | 1.8679 | 0.3955
1.32 | Threonine | 3 | 5.5648 | 1.8549 | 0.39276
Exp 2
PPM shift | Cpd | # Protons | Signal | Norm. signal | 2Norm
4.24 | Threonine | 1 | 0.1483 | 0.1483 | 0.24037
3.58 | Threonine | 1 | 0.2329 | 0.2329 | 0.37749
1.32 | Threonine | 3 | 0.7073 | 0.23577 | 0.38214
Exp 3
PPM shift | Cpd | # Protons | Signal | Norm. signal | 2Norm
4.24 | Threonine | 1 | 0.2452 | 0.2452 | 0.38025
3.58 | Threonine | 1 | 0.2317 | 0.2317 | 0.35932
1.32 | Threonine | 3 | 0.5038 | 0.16793 | 0.26043

## AVG
|  | Normalized signal |  |  | Re-normalized signal
PPM shift | Cpd | A | B | C | A | B | C | AVG
2.17 | Butyrate | 0.55008 | 0.57256 | 0.60571 | 0.21658 | 0.22239 | 0.22431 | 0.22109
1.91 | Acetate | 0.51506 | 0.50673 | 0.49131 | 0.20279 | 0.19682 | 0.18195 | 0.19385
1.54, 1.47 | Butyrate + Alanine | 0.57401 | 0.59245 | 0.62661 | 0.226 | 0.23011 | 0.23205 | 0.22939
1.17 | Ethanol | 0.39043 | 0.36743 | 0.39367 | 0.15372 | 0.14271 | 0.14579 | 0.14741
0.89 | Butyrate | 0.5103 | 0.53544 | 0.58299 | 0.20092 | 0.20797 | 0.2159 | 0.20826
Normalized signal
| Program: | hsqcphpr | hsqcphpr | hsqcetgp
PPM shift | Cpd: Cpd; Normalized signal A: 2023-01-13; Normalized signal B: 2023-01-21; Normalized signal C: 2022-08-26
4.24 | Cpd: Threonine; Normalized signal A: 0.21174; Normalized signal B: 0.24037; Normalized signal C: 0.38025
3.58 | Cpd: Threonine; Normalized signal A: 0.3955; Normalized signal B: 0.37749; Normalized signal C: 0.35932
1.32 | Cpd: Threonine; Normalized signal A: 0.39276; Normalized signal B: 0.38214; Normalized signal C: 0.26043